## Load & Resources
|  |  | Winter |  |  |  |  | Summer
|  |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2016 | 2017 | 2018 | 2019 | 2020
|  | Planning Seasonal Peak Load | 1700 | 1703 | 1690 | 1670 | 1725 | 1578 | 1579 | 1616 | 1645 | 1638
|  | Actual Peak Load | 1655 | 1681 | 1555 | 1602 | 1613 | 1587 | 1596 | 1716 | 1656 | 1721
|  | Date of Peak | 2016-12-17 | 2017-01-05 | 2018-02-21 | 2019-02-07 | 2020-01-14 | 2016-07-28 | 2017-08-03 | 2018-08-10 | 2019-08-07 | 2020-08-17
|  | Hour of Peak | 18 | 8 | 8 | 8 | 19 | 17 | 18 | 16 | 17 | 16
Data Type | Resources | Resource Type | 2016 | 2017 | 2018 | 2019 | 2020 | 2016 | 2017 | 2018 | 2019 | 2020
Potential | Coyote Springs | Natural Gas | 318 | 319 | 317 | 251 | 278 | 279 | 281 | 278 | 261 | 272
Potential | Lancaster | Natural Gas | 283 | 283 | 284 | 285 | 283 | 236 | 235 | 226 | 233 | 232
Potential | Boulder Park | Natural Gas | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Potential | Kettle Falls CT | Natural Gas | 8 | 8 | 8 | 8 | 0 | 5 | 5 | 5 | 5 | 5
Potential | Northeast CT | Natural Gas | 66 | 66 | 66 | 66 | 66 | 44 | 44 | 44 | 44 | 44
Potential | Rathdrum CT | Natural Gas | 164 | 167 | 172 | 170 | 176 | 130 | 125 | 115 | 132 | 132
Potential | Kettle Falls | Biomass | 47 | 42 | 42 | 47 | 46 | 48 | 4 | 47 | 48 | 43
Potential | Colstrip | Coal | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222
Potential | Little Falls | Hydro- Storage | 33 | 33 | 33 | 33 | 33 | 30 | 30 | 30 | 30 | 30
Potential | Long Lake | Hydro- Storage | 86 | 86 | 86 | 86 | 86 | 77 | 77 | 77 | 77 | 77
Potential | Cabinet Gorge | Hydro- Storage | 248 | 248 | 248 | 248 | 248 | 255 | 255 | 255 | 255 | 255
Potential | Noxon Rapids | Hydro- Storage | 550 | 550 | 550 | 550 | 550 | 539 | 539 | 539 | 539 | 539
Potential | Mid-Columbia Hydro Contracts | Hydro- Storage | 165.3 | 165 | 165 | 235 | 235 | 142 | 142 | 142 | 221 | 221
Actual Peak Hour | Monroe Street | Hydro- Run of River | 15 | 14 | 13 | 14 | 14 | 0 | 3 | 0 | 4 | 3
Actual Peak Hour | Nine Mile | Hydro- Run of River | 28 | 14 | 20 | 22 | 18 | 6 | 5 | 6 | 6 | 6
Actual Peak Hour | Post Falls | Hydro- Run of River | 14 | 8 | 10 | 13 | 8 | 2 | 2 | 2 | 2 | 2
Actual Peak Hour | Upper Falls | Hydro- Run of River | 10 | 9 | 9 | 10 | 9 | 1 | 2 | 2 | 1 | 0
Actual Peak Hour | Palouse | Wind | 8 | 2 | 1 | 45 | 36 | 3 | 1 | 31 | 7 | 4
Actual Peak Hour | Rattlesnake | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Actual Peak Hour | Adams-Nielson | Solar | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 19 | 18
Actual Peak Hour | City of Spokane | PURPA- Refuse/Hydro | 26 | 12 | 27 | 27 | 24 | 15 | 14 | 10 | 11 | 14
Actual Peak Hour | Clearwater Paper | PURPA- Biomass | 0 | 0 | 0 | 0 | 52 | 0 | 0 | 0 | 52 | 59
Actual Peak Hour | Stimson Lumber | PURPA- Biomass | 3 | 4 | 0 | 4 | 4 | 4 | 5 | 5 | 5 | 0
Actual Peak Hour | Small Power | PURPA- varies | 4 | 4 | 5 | 3 | 2 | 3 | 4 | 3 | 3 | 4
Potential | Long Term Sales | Unspecified | -199 | -49 | -49 | -97 | -57 | -201 | -51 | -51 | -99 | -55
Potential | Long Term Purchase | Unspecified | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total | 2124.3 | 2232 | 2254 | 2269 | 2358 | 1865 | 1969 | 2013 | 2103 | 2152
|  | Implied Margin | 28.36% | 32.78% | 44.95% | 41.64% | 46.19% | 17.52% | 23.37% | 17.31% | 26.99% | 25.04%
|  | Planning Margin | 24.96% | 31.06% | 33.37% | 35.87% | 36.7% | 18.19% | 24.7% | 24.57% | 27.84% | 31.38%
Note on G13: transformer limited
Note on H13: transformer limited
Note on M13: transformer limited
Note on N13: transformer limited
Clearwater paper in Lewiston, ID is a large load with a large PURPA generator from June 2013 to March 2019, the generator netted against its load

## Definitions
Term | Definitions
Potential | The amount of generation the facility is capable of producing, the unit may have produced this generation or may have been held in reserve
Actual Peak Hour | This is the amount of generation actually produced during the peak hour
Natural Gas | Natural Gas is the main source of fuel for this facility
Biomass | Biomass is the main source of fuel for this facility
Coal | Coal is the main source of fuel for this facility
Hydro- Storage | This is a hydroelectric facility with hydro storage, where it could use this storage for production at its full capability
Hydro- Run of River | This type of hydroelectric facility has no storage and generates based on the available water
Wind | Wind is the main source of fuel for this facility
Solar | Solar is the main source of fuel for this facility
PURPA- Refuse/Hydro | This is generation purchased from two Qualify Facilities for the PURPA federal act, one uses hydro one uses refuse
PURPA- Biomass | This is generation purchased from a Qualify Facility for the PURPA federal act using biomass to create power
Unspecified | No source of fuel is known
LT Purchase | Power purchases for system adequacy prior to system optimization (i.e. prior to 18 months to hour)
LT Sales | Power sales prior to system optimization period (i.e. prior to 18 months to hour)

## Customer Reliability
GEOID_Double | HIC_Or_VulnerablePh2Flag | HighlyImpactedCommunity | VulnerablePopulationFlagPh2 | County_Name | SPIDCountInCensusTract | ACSDT5YR2018MedIncome | FeederDesignation | CAIDI_Yr1 | CAIDI_Yr2 | CAIDI_Yr3 | CAIDI_Yr4 | CAIDI_Yr5 | AvgCAIDI_5yr | AvgCEMI_Yr1 | AvgCEMI_Yr2 | AvgCEMI_Yr3 | AvgCEMI_Yr4 | AvgCEMI_5Yr | CustomerCount_Yr1 | CustomerCount_Yr2 | CustomerCount_Yr3 | CustomerCount_Yr4 | CustomerCount_Yr5 | AvgCEMI_Yr5 | Tribal_Lands__Yes_No_ | VulnerableCustomerAnalysisYr | Environmental_Health_Disparitie | CumulativeEnvHealthDispRank | SensitivePopulationsRank | SocioEconomicFactorsRank | VulnerablePopulationFlagPh1 | VulnerableCombinedRank | VulnerableCustomerAnalysis_Yr | AFFGEOID | GEOID
53065950100 | 1 | Yes | 0 | Stevens | 5129 | 41197 | RURAL | 1281.7 | 165 | 218.9 | 197.1 | 227.5 | 418.04 | 5.2 | 5.2 | 5.6 | 4.8 | 5.26 | 5002 | 5000 | 5033 | 5003 | 5003 | 5.5 | Yes | 2021 | 3 | 3 | 5 | 5 | 0 | 10 | 2021 | 1400000US53065950100 | 53065950100
53063000500 | 1 | Yes | 0 | Spokane | 1726 | 51597 | SU-UR | 99.5 | 201.7 | 69.5 | 106.2 | 168 | 128.98 | 1.1 | 1.1 | 1.2 | 1.1 | 1.16 | 1713 | 1712 | 1717 | 1662 | 1662 | 1.3 | No | 2021 | 9 | 9 | 7 | 6 | 0 | 13 | 2021 | 1400000US53063000500 | 53063000500
53065950800 | 1 | Yes | 0 | Stevens | 2181 | 52356 | RURAL | 171.7 | 163.8 | 126 | 182 | 250.5 | 178.8 | 3 | 2.7 | 4.6 | 2.7 | 3.14 | 2087 | 2088 | 2130 | 2114 | 2114 | 2.7 | Yes | 2021 | 2 | 2 | 4 | 4 | 0 | 8 | 2021 | 1400000US53065950800 | 53065950800
53019940000 | 1 | Yes | 1 | Ferry | 1016 | 35592 | RURAL | 376.1 | 351.4 | 241.9 | 241.9 | 263 | 294.86 | 4.2 | 8.8 | 6.5 | 6.5 | 5.66 | 1018 | 1018 | 1016 | 992 | 992 | 2.3 | Yes | 2021 | 5 | 5 | 8 | 10 | 1 | 18 | 2021 | 1400000US53019940000 | 53019940000
53001950200 | 1 | No | 1 | Adams | 676 | 49261 | RURAL | 182.5 | 161.2 | 205.6 | 279.2 | 358.1 | 237.32 | 2 | 2.7 | 2.3 | 2.8 | 2.62 | 676 | 667 | 669 | 662 | 662 | 3.3 | No | 2021 | 6 | 6 | 9 | 6 | 1 | 15 | 2021 | 1400000US53001950200 | 53001950200
53063002300 | 1 | Yes | 1 | Spokane | 2844 | 52674 | SU-UR | 111.7 | 441.7 | 155.8 | 96.3 | 196.3 | 200.36 | 1.2 | 1.1 | 1.2 | 1.6 | 1.24 | 2705 | 2736 | 2766 | 2234 | 2234 | 1.1 | No | 2021 | 9 | 9 | 10 | 8 | 1 | 18 | 2021 | 1400000US53063002300 | 53063002300
53065951100 | 1 | No | 1 | Stevens | 2479 | 38718 | RURAL | 253.7 | 266.5 | 241 | 189.2 | 223.6 | 234.8 | 1.7 | 2.6 | 2.2 | 5.1 | 2.96 | 2370 | 2388 | 2409 | 2386 | 2386 | 3.2 | Yes | 2021 | 4 | 4 | 9 | 8 | 1 | 17 | 2021 | 1400000US53065951100 | 53065951100
53075000500 | 1 | No | 1 | Whitman | 342 | 27744 | SU-RU | 50.2 | 50.2 | 85.4 | 81.4 | 268 | 107.04 | 2.1 | 2.1 | 1 | 1 | 1.44 | 341 | 341 | 341 | 341 | 341 | 1 | No | 2021 | 6 | 6 | 5 | 9 | 1 | 14 | 2021 | 1400000US53075000500 | 53075000500
53063001300 | 1 | Yes | 1 | Spokane | 1826 | 43649 | SU-UR | 333.4 | 121 | 120 | 126.4 | 131.6 | 166.48 | 1.8 | 1 | 1.4 | 1.5 | 1.64 | 1816 | 1819 | 1821 | 1764 | 1764 | 2.5 | No | 2021 | 10 | 10 | 10 | 7 | 1 | 17 | 2021 | 1400000US53063001300 | 53063001300
53063010401 | 1 | Yes | 1 | Spokane | 1530 | 48866 | SU-RU | 299.9 | 61.7 | 396.9 | 61.8 | 121 | 188.26 | 1.1 | 1.1 | 1.9 | 1.8 | 1.38 | 1247 | 1246 | 1487 | 609 | 609 | 1 | Yes | 2021 | 8 | 8 | 10 | 9 | 1 | 19 | 2021 | 1400000US53063010401 | 53063010401
53063010304 | 1 | No | 1 | Spokane | 1515 | 76865 | RURAL | 242.7 | 117.8 | 310 | 119.4 | 166.6 | 191.3 | 2.5 | 2.1 | 1.3 | 1.3 | 1.74 | 1434 | 1436 | 1384 | 1450 | 1450 | 1.5 | No | 2021 | 5 | 5 | 10 | 3 | 1 | 13 | 2021 | 1400000US53063010304 | 53063010304
53075000600 | 1 | No | 1 | Whitman | 5630 | 18537 | SU-UR-RU | 55.4 | 90.2 | 138 | 153.2 | 125.8 | 112.52 | 1.1 | 1.4 | 1.3 | 1 | 1.26 | 5141 | 5170 | 5336 | 5266 | 5266 | 1.5 | No | 2021 | 5 | 5 | 3 | 10 | 1 | 13 | 2021 | 1400000US53075000600 | 53075000600
53063000300 | 1 | Yes | 1 | Spokane | 2243 | 34733 | SU-UR | 58 | 61.1 | 95.2 | 115.6 | 295 | 124.98 | 2.6 | 1.6 | 1.5 | 1.2 | 1.64 | 2216 | 2217 | 2227 | 1935 | 1935 | 1.3 | No | 2021 | 10 | 10 | 10 | 9 | 1 | 19 | 2021 | 1400000US53063000300 | 53063000300
53063010800 | 1 | Yes | 1 | Spokane | 1152 | 33846 | SUBURB | 141.1 | 224.8 | 209.9 | 238.7 | 142.5 | 191.4 | 1.2 | 1.3 | 1.7 | 1.2 | 1.28 | 1139 | 1151 | 1154 | 1146 | 1146 | 1 | No | 2021 | 9 | 9 | 9 | 6 | 1 | 15 | 2021 | 1400000US53063010800 | 53063010800
53063002400 | 1 | Yes | 1 | Spokane | 1978 | 20357 | SU-UR | 62 | 154.3 | 289.5 | 182.3 | 171.3 | 171.88 | 2.2 | 1.1 | 1.3 | 1.4 | 1.4 | 1777 | 1846 | 1944 | 859 | 859 | 1 | No | 2021 | 9 | 9 | 9 | 8 | 1 | 17 | 2021 | 1400000US53063002400 | 53063002400
53063011102 | 1 | Yes | 1 | Spokane | 1882 | 39044 | SU-UR | 181 | 152.7 | 267.9 | 93.4 | 179.5 | 174.9 | 1.1 | 1 | 1.7 | 1 | 1.16 | 1869 | 1697 | 1881 | 1848 | 1848 | 1 | No | 2021 | 10 | 10 | 10 | 8 | 1 | 18 | 2021 | 1400000US53063011102 | 53063011102
53065941000 | 1 | Yes | 1 | Stevens | 1085 | 32500 | RURAL | 248.1 | 873.4 | 273.8 | 189.3 | 252.4 | 367.4 | 5.5 | 4.1 | 8.2 | 5.2 | 5.7 | 1075 | 998 | 704 | 1055 | 1055 | 5.5 | Yes | 2021 | 4 | 4 | 7 | 9 | 1 | 16 | 2021 | 1400000US53065941000 | 53065941000
53063012500 | 1 | No | 1 | Spokane | 1253 | 44986 | SU-RU | 282.3 | 67.3 | 75 | 75 | 79.5 | 115.82 | 1 | 1.1 | 2.6 | 2.6 | 1.66 | 1250 | 1246 | 1247 | 1245 | 1245 | 1 | No | 2021 | 8 | 8 | 10 | 7 | 1 | 17 | 2021 | 1400000US53063012500 | 53063012500
53019970100 | 1 | Yes | 1 | Ferry | 957 | 41350 | RURAL | 194 | 202.3 | 313 | 259 | 166 | 226.86 | 4.7 | 4 | 7.8 | 7.4 | 5.82 | 914 | 803 | 922 | 917 | 917 | 5.2 | Yes | 2021 | 5 | 5 | 9 | 7 | 1 | 16 | 2021 | 1400000US53019970100 | 53019970100
53063002500 | 1 | Yes | 1 | Spokane | 2798 | 30284 | SU-UR | 155.1 | 316.9 | 176 | 136.2 | 182.4 | 193.32 | 1.4 | 1.2 | 1 | 1.1 | 1.2 | 2791 | 2782 | 2775 | 2286 | 2286 | 1.3 | No | 2021 | 10 | 10 | 9 | 8 | 1 | 17 | 2021 | 1400000US53063002500 | 53063002500
53001950100 | 1 | No | 1 | Adams | 1210 | 47813 | SU-RU | 99.8 | 280.4 | 121.3 | 178.4 | 186.8 | 173.34 | 1.3 | 1.2 | 2.2 | 1.2 | 1.48 | 1208 | 1204 | 1207 | 1207 | 1207 | 1.5 | No | 2021 | 6 | 6 | 10 | 3 | 1 | 13 | 2021 | 1400000US53001950100 | 53001950100
53063001900 | 1 | Yes | 0 | Spokane | 1869 | 45968 | SU-UR | 68.6 | 209.7 | 186.5 | 231.6 | 114.7 | 162.22 | 1.8 | 1.2 | 1 | 1.6 | 1.44 | 1850 | 1859 | 1867 | 1844 | 1844 | 1.6 | No | 2021 | 9 | 9 | 8 | 6 | 1 | 14 | 2021 | 1400000US53063001900 | 53063001900
53063000200 | 1 | Yes | 1 | Spokane | 2197 | 32833 | SU-UR | 66.7 | 93.9 | 68.1 | 113.6 | 222.2 | 112.9 | 2.1 | 1.1 | 1 | 1.1 | 1.3 | 2115 | 2114 | 2134 | 2010 | 2010 | 1.2 | No | 2021 | 10 | 10 | 10 | 9 | 1 | 19 | 2021 | 1400000US53063000200 | 53063000200
53065950300 | 1 | No | 1 | Stevens | 1664 | 38305 | SU-RU | 99.3 | 48.7 | 143.3 | 164 | 132.7 | 117.6 | 3.2 | 1.3 | 1.2 | 2.1 | 1.82 | 1648 | 1269 | 1658 | 1653 | 1653 | 1.3 | No | 2021 | 5 | 5 | 9 | 6 | 1 | 15 | 2021 | 1400000US53065950300 | 53065950300
53063002000 | 1 | Yes | 1 | Spokane | 2236 | 33355 | SU-UR | 92.9 | 115.4 | 76.3 | 93 | 93.1 | 94.14 | 1.4 | 1 | 1 | 1 | 1.28 | 2222 | 2219 | 2226 | 1011 | 1011 | 2 | No | 2021 | 9 | 9 | 10 | 8 | 1 | 18 | 2021 | 1400000US53063002000 | 53063002000
53063012200 | 1 | Yes | 1 | Spokane | 2106 | 48750 | SU-RU | 124.3 | 137.5 | 64 | 169.1 | 53.2 | 109.62 | 1.7 | 1.1 | 1.7 | 1 | 1.3 | 2091 | 2068 | 2089 | 2090 | 2090 | 1 | No | 2021 | 10 | 10 | 9 | 7 | 1 | 16 | 2021 | 1400000US53063012200 | 53063012200
53001950300 | 1 | No | 1 | Adams | 2005 | 44107 | SU-RU | 140.5 | 172.1 | 179.1 | 194.1 | 483.6 | 233.88 | 1.4 | 2 | 2 | 2.3 | 1.84 | 1951 | 1957 | 1975 | 1964 | 1964 | 1.5 | No | 2021 | 7 | 7 | 7 | 10 | 1 | 17 | 2021 | 1400000US53001950300 | 53001950300
53063002600 | 1 | Yes | 1 | Spokane | 2503 | 37188 | UR-RU | 31.6 | 112.5 | 204.4 | 117.2 | 163.7 | 125.88 | 1.4 | 1.2 | 1.1 | 1.2 | 1.3 | 2381 | 2382 | 2466 | 420 | 420 | 1.6 | No | 2021 | 10 | 10 | 10 | 10 | 1 | 20 | 2021 | 1400000US53063002600 | 53063002600
53063011701 | 1 | Yes | 1 | Spokane | 848 | 48257 | SUBURB | 67.3 | 120.5 | 122.6 | 146.3 | 108.1 | 112.96 | 1.9 | 1.2 | 1.5 | 1 | 1.38 | 839 | 835 | 841 | 839 | 839 | 1.3 | No | 2021 | 10 | 10 | 9 | 7 | 1 | 16 | 2021 | 1400000US53063011701 | 53063011701
53063001800 | 1 | Yes | 1 | Spokane | 1455 | 38947 | SU-UR | 107.9 | 158.9 | 306.9 | 129.7 | 123.2 | 165.32 | 1.7 | 1 | 1.2 | 1 | 1.22 | 1443 | 1442 | 1446 | 1018 | 1018 | 1.2 | No | 2021 | 9 | 9 | 9 | 8 | 1 | 17 | 2021 | 1400000US53063001800 | 53063001800
53001950500 | 1 | No | 1 | Adams | 1764 | 54223 | SU-RU | 62.2 | 276.2 | 147.6 | 45.6 | 514.8 | 209.28 | 1.1 | 1.4 | 1.8 | 1.6 | 1.42 | 1663 | 1655 | 1671 | 1667 | 1667 | 1.2 | No | 2021 | 7 | 7 | 10 | 10 | 1 | 20 | 2021 | 1400000US53001950500 | 53001950500
53063003200 | 1 | Yes | 1 | Spokane | 1635 | 33770 | SU-UR-RU | 58.5 | 119.9 | 94.9 | 46.6 | 69.5 | 77.88 | 1.3 | 1.1 | 2.2 | 1.3 | 1.38 | 1628 | 1608 | 1628 | 1603 | 1603 | 1 | No | 2021 | 10 | 10 | 10 | 6 | 1 | 16 | 2021 | 1400000US53063003200 | 53063003200
53063001500 | 1 | Yes | 1 | Spokane | 2319 | 45625 | SU-UR | 217.9 | 178.4 | 189 | 129.7 | 136.5 | 170.3 | 1.8 | 1.3 | 1.3 | 1.3 | 1.38 | 2315 | 2315 | 2319 | 2079 | 2079 | 1.2 | No | 2021 | 9 | 9 | 9 | 9 | 1 | 18 | 2021 | 1400000US53063001500 | 53063001500
53063001600 | 1 | Yes | 1 | Spokane | 1774 | 33242 | SU-UR | 30.6 | 84.3 | 294.2 | 56.5 | 120.6 | 117.24 | 1.5 | 1.5 | 1.2 | 1.1 | 1.34 | 1750 | 1751 | 1759 | 1400 | 1400 | 1.4 | No | 2021 | 9 | 9 | 8 | 9 | 1 | 17 | 2021 | 1400000US53063001600 | 53063001600
53063001400 | 1 | Yes | 1 | Spokane | 3027 | 37531 | SU-UR | 284.5 | 326.5 | 195 | 136.2 | 264.1 | 241.26 | 1.6 | 1.3 | 1.1 | 1 | 1.24 | 3002 | 3000 | 3004 | 2842 | 2842 | 1.2 | No | 2021 | 10 | 10 | 8 | 10 | 1 | 18 | 2021 | 1400000US53063001400 | 53063001400
53063011101 | 1 | Yes | 1 | Spokane | 3002 | 23880 | SU-UR | 27.9 | 121.6 | 78.6 | 190.8 | 205.3 | 124.84 | 1 | 1.3 | 1.1 | 1.3 | 1.26 | 2986 | 2988 | 2991 | 2804 | 2804 | 1.6 | No | 2021 | 10 | 10 | 10 | 9 | 1 | 19 | 2021 | 1400000US53063011101 | 53063011101
53063003000 | 1 | Yes | 1 | Spokane | 1051 | 33571 | SUBURB | 62.1 | 127.6 | 46.6 | 107.1 | 50.1 | 78.7 | 1.4 | 1.3 | 1 | 1 | 1.16 | 1064 | 1051 | 1059 | 960 | 960 | 1.1 | No | 2021 | 10 | 10 | 7 | 10 | 1 | 17 | 2021 | 1400000US53063003000 | 53063003000
53063012901 | 1 | Yes | 0 | Spokane | 252 | 54375 | SUBURB | 373 | 112.3 | 166.7 | 115.7 | 346.8 | 222.9 | 1.4 | 1.1 | 1.1 | 1.2 | 1.18 | 246 | 247 | 250 | 250 | 250 | 1.1 | No | 2021 | 9 | 9 | 8 | 7 | 1 | 15 | 2021 | 1400000US53063012901 | 53063012901
53063014400 | 1 | Yes | 1 | Spokane | 2238 | 49935 | SUBURB | 324.1 | 280.8 | 103.6 | 121.6 | 76.1 | 181.24 | 1.2 | 1.1 | 1.2 | 1 | 1.18 | 2189 | 2195 | 2181 | 2172 | 2172 | 1.4 | No | 2021 | 9 | 9 | 10 | 8 | 1 | 18 | 2021 | 1400000US53063014400 | 53063014400
53001950400 | 1 | No | 1 | Adams | 1151 | 47036 | SU-RU | 44.7 | 475.6 | 133.7 | 56.9 | 395.7 | 221.32 | 1 | 1.2 | 1.4 | 1.9 | 1.34 | 1066 | 1065 | 1080 | 1072 | 1072 | 1.2 | No | 2021 | 7 | 7 | 9 | 10 | 1 | 19 | 2021 | 1400000US53001950400 | 53001950400
53063012000 | 1 | Yes | 0 | Spokane | 4 | 45665 | SUBURB | 0 | 40 | 40 | 9 | 9 | 19.6 | 0 | 1 | 1 | 1 | 0.8 | 7 | 6 | 4 | 4 | 4 | 1 | No | 2021 | 9 | 9 | 7 | 8 | 1 | 15 | 2021 | 1400000US53063012000 | 53063012000
53063003500 | 1 | Yes | 1 | Spokane | 1991 | 15651 | SU-UR | 105 | 413.9 | 23 | 123 | 148.9 | 162.76 | 1 | 1 | 1.1 | 3.2 | 1.62 | 1730 | 1698 | 1756 | 1680 | 1680 | 1.8 | No | 2021 | 10 | 10 | 10 | 6 | 1 | 16 | 2021 | 1400000US53063003500 | 53063003500
53063010402 | 1 | Yes | 0 | Spokane | 973 | 72955 | SU-RU | 321.1 | 194.3 | 391.4 | 313.9 | 172.5 | 278.64 | 2.3 | 2.5 | 1.6 | 2.2 | 2.1 | 937 | 938 | 952 | 947 | 947 | 1.9 | Yes | 2021 | 6 | 6 | 8 | 5 | 1 | 13 | 2021 | 1400000US53063010402 | 53063010402
53063011201 | 1 | Yes | 1 | Spokane | 4524 | 38203 | SU-UR-RU | 202.8 | 97.4 | 171.1 | 120.4 | 158.4 | 150.02 | 1 | 1.2 | 1.6 | 1.1 | 1.18 | 4435 | 4422 | 4451 | 4417 | 4417 | 1 | No | 2021 | 9 | 9 | 9 | 8 | 1 | 17 | 2021 | 1400000US53063011201 | 53063011201
53063002900 | 1 | Yes | 1 | Spokane | 1311 | 55694 | SUBURB | 119 | 23.4 | 56.8 | 131.1 | 263.6 | 118.78 | 1.8 | 1.1 | 1.2 | 1.6 | 1.36 | 1303 | 1304 | 1309 | 1044 | 1044 | 1.1 | No | 2021 | 9 | 9 | 9 | 5 | 1 | 14 | 2021 | 1400000US53063002900 | 53063002900
53063014500 | 1 | Yes | 1 | Spokane | 2581 | 25625 | SU-UR-RU | 78.6 | 180 | 120.2 | 121 | 67.8 | 113.52 | 1.3 | 1.2 | 1.5 | 1.2 | 1.28 | 2533 | 2550 | 2555 | 2462 | 2462 | 1.2 | No | 2021 | 10 | 10 | 10 | 9 | 1 | 19 | 2021 | 1400000US53063014500 | 53063014500
53063000400 | 1 | Yes | 1 | Spokane | 2226 | 35526 | SU-UR | 281.6 | 88.6 | 78.8 | 167.9 | 161.5 | 155.68 | 1.5 | 1.4 | 1.2 | 1 | 1.22 | 2202 | 2201 | 2207 | 2178 | 2178 | 1 | No | 2021 | 10 | 10 | 8 | 9 | 1 | 17 | 2021 | 1400000US53063000400 | 53063000400
53063002100 | 1 | No | 1 | Spokane | 1197 | 46230 | SU-UR | 162.9 | 202.3 | 73.9 | 338.1 | 74 | 170.24 | 1.1 | 1 | 1.1 | 1 | 1.26 | 1204 | 1202 | 1202 | 828 | 828 | 2.1 | No | 2021 | 8 | 8 | 9 | 8 | 1 | 17 | 2021 | 1400000US53063002100 | 53063002100
530250114402 | 1 | No | 1 | Grant | 2 | 53271 | RURAL | 223 | 257.4 | 395 | 744 |  | 323.88 | 3 | 2.3 | 2 | 1 | 1.66 | 3 | 3 | 3 | 3 |  |  | No | 2021 | 5 | 5 | 2 | 10 | 1 | 12 | 2021 | 1400000US53025011402 | 53025011402
53063010301 | 0 | No | 0 | Spokane | 2391 | 51241 | RURAL | 102.1 | 90.6 | 111.3 | 121.7 | 116.4 | 108.42 | 2.8 | 1.4 | 1.1 | 1 | 1.48 | 2171 | 2193 | 2186 | 2264 | 2264 | 1.1 | No | 2021 | 4 | 4 | 5 | 7 | 0 | 12 | 2021 | 1400000US53063010301 | 53063010301
53063003900 | 0 | No | 0 | Spokane | 1313 | 45855 | SU-UR-RU | 159.7 | 253.5 | 137.9 | 124 | 303.2 | 195.66 | 1.2 | 1 | 1 | 1.1 | 1.08 | 1246 | 1258 | 1284 | 1174 | 1174 | 1.1 | No | 2021 | 5 | 5 | 5 | 3 | 0 | 8 | 2021 | 1400000US53063003900 | 53063003900
53063010602 | 0 | No | 0 | Spokane | 3518 | 77616 | SU-RU | 41.7 | 341.3 | 409.7 | 312.5 | 179.9 | 257.02 | 1 | 1 | 2 | 1.1 | 1.28 | 3287 | 3306 | 3351 | 3351 | 3351 | 1.3 | No | 2021 | 2 | 2 | 3 | 1 | 0 | 4 | 2021 | 1400000US53063010602 | 53063010602
53063000800 | 0 | No | 0 | Spokane | 2062 | 70556 | SU-RU | 73.8 | 160.6 | 72.6 | 158.3 | 308.1 | 154.68 | 1.3 | 1.1 | 2.1 | 1 | 1.32 | 2069 | 2069 | 2075 | 1942 | 1942 | 1.1 | No | 2021 | 6 | 6 | 3 | 3 | 0 | 6 | 2021 | 1400000US53063000800 | 53063000800
53063010700 | 0 | No | 0 | Spokane | 3221 | 103531 | SU-RU | 70.6 | 272.8 | 152.8 | 294.7 | 372.8 | 232.74 | 1.2 | 1.3 | 1.3 | 1 | 1.18 | 2753 | 2860 | 2959 | 2975 | 2975 | 1.1 | No | 2021 | 5 | 5 | 7 | 1 | 0 | 8 | 2021 | 1400000US53063010700 | 53063010700
53063004500 | 0 | No | 0 | Spokane | 1731 | 94219 | SUBURB | 34.3 | 220.5 | 111.5 | 186.8 | 199.5 | 150.52 | 1.2 | 1.1 | 1.2 | 1 | 1.12 | 1693 | 1705 | 1713 | 861 | 861 | 1.1 | No | 2021 | 3 | 3 | 3 | 1 | 0 | 4 | 2021 | 1400000US53063004500 | 53063004500
53063013202 | 0 | No | 0 | Spokane | 5800 | 90750 | SU-RU | 247.5 | 230.1 | 223.5 | 194.8 | 261.2 | 231.42 | 1.4 | 1.8 | 1.1 | 1.2 | 1.4 | 4942 | 5120 | 5296 | 5278 | 5278 | 1.5 | No | 2021 | 2 | 2 | 2 | 2 | 0 | 4 | 2021 | 1400000US53063013202 | 53063013202
53063012701 | 0 | No | 0 | Spokane |  | 43941 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | No | 2021 | 7 | 7 | 7 | 4 | 0 | 11 | 2021 | 1400000US53063012701 | 53063012701
53063004602 | 0 | No | 0 | Spokane | 1343 | 66944 | SUBURB | 189.3 | 119.3 | 34.2 | 157.5 | 170 | 134.06 | 1.1 | 1.1 | 1.2 | 1.2 | 1.24 | 1288 | 1289 | 1304 | 360 | 360 | 1.6 | No | 2021 | 4 | 4 | 2 | 6 | 0 | 8 | 2021 | 1400000US53063004602 | 53063004602
53063012702 | 0 | No | 0 | Spokane |  | 69575 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | No | 2021 | 4 | 4 | 5 | 2 | 0 | 7 | 2021 | 1400000US53063012702 | 53063012702
53063010100 | 0 | No | 0 | Spokane | 367 | 71265 | SU-RU | 118.3 | 213.7 | 174.4 | 200.8 | 318.1 | 205.06 | 1 | 3.8 | 2 | 1.4 | 2 | 358 | 359 | 365 | 291 | 291 | 1.8 | No | 2021 | 2 | 2 | 2 | 2 | 0 | 4 | 2021 | 1400000US53063010100 | 53063010100
53075000300 | 0 | No | 0 | Whitman | 2686 | 77563 | SU-UR-RU | 198.5 | 99.8 | 194.5 | 53.1 | 52.7 | 119.72 | 1.3 | 2.1 | 2.7 | 1.3 | 2.02 | 2571 | 2605 | 2631 | 2629 | 2629 | 2.7 | No | 2021 | 1 | 1 | 1 | 3 | 0 | 4 | 2021 | 1400000US53075000300 | 53075000300
53063001200 | 0 | No | 0 | Spokane | 1091 | 43833 | SU-UR | 109.6 | 42 | 64.5 | 103.1 | 99.5 | 83.74 | 1.2 | 1 | 1.2 | 1.8 | 1.36 | 1080 | 1079 | 1079 | 1078 | 1078 | 1.6 | No | 2021 | 5 | 5 | 3 | 4 | 0 | 7 | 2021 | 1400000US53063001200 | 53063001200
53063004800 | 0 | No | 0 | Spokane | 2104 | 50577 | SU-RU | 205.4 | 45.8 | 45.8 | 116.1 | 205.3 | 123.68 | 1.3 | 1.3 | 1.3 | 1 | 1.18 | 2036 | 2035 | 2037 | 358 | 358 | 1 | No | 2021 | 2 | 2 | 3 | 3 | 0 | 6 | 2021 | 1400000US53063004800 | 53063004800
53063010900 | 0 | No | 0 | Spokane | 1914 | 58828 | SU-RU | 123 | 213.3 | 159.8 | 174.1 | 284.5 | 190.94 | 1.4 | 1.7 | 2 | 1.7 | 1.84 | 1882 | 1887 | 1896 | 1863 | 1863 | 2.4 | No | 2021 | 6 | 6 | 3 | 3 | 0 | 6 | 2021 | 1400000US53063010900 | 53063010900
53063012401 | 0 | No | 0 | Spokane | 2023 | 70385 | SU-RU | 71.8 | 95.4 | 116.9 | 81 | 437.5 | 160.52 | 1.8 | 1.9 | 1.2 | 1.6 | 1.56 | 1929 | 1952 | 1974 | 1973 | 1973 | 1.3 | No | 2021 | 2 | 2 | 1 | 2 | 0 | 3 | 2021 | 1400000US53063012401 | 53063012401
53063004100 | 0 | No | 0 | Spokane | 1139 | 53125 | SU-UR | 193.8 | 96.1 | 128.2 | 43.7 | 140.8 | 120.52 | 1.1 | 1.5 | 1.5 | 1 | 1.26 | 1133 | 1131 | 1132 | 991 | 991 | 1.2 | No | 2021 | 3 | 3 | 2 | 3 | 0 | 5 | 2021 | 1400000US53063004100 | 53063004100
53063003600 | 0 | No | 0 | Spokane | 3621 | 32778 | SU-UR | 97.2 | 49.1 | 119.8 | 202.9 | 190.8 | 131.96 | 1.4 | 1 | 1.2 | 1.4 | 1.2 | 3274 | 3486 | 3607 | 1286 | 1286 | 1 | No | 2021 | 7 | 7 | 4 | 6 | 0 | 10 | 2021 | 1400000US53063003600 | 53063003600
53075000400 | 0 | No | 0 | Whitman | 2330 | 54071 | SU-UR-RU | 318.9 | 73.8 | 182.5 | 110 | 64.1 | 149.86 | 1.2 | 2.3 | 1.1 | 1.1 | 1.54 | 2266 | 2265 | 2269 | 2260 | 2260 | 2 | No | 2021 | 5 | 5 | 6 | 7 | 0 | 13 | 2021 | 1400000US53075000400 | 53075000400
53075001000 | 0 | No | 0 | Whitman | 923 | 60288 | RURAL | 237.9 | 211 | 305.6 | 215.3 | 134.3 | 220.82 | 2.4 | 1.4 | 1.8 | 3.1 | 2.52 | 920 | 921 | 920 | 918 | 918 | 3.9 | No | 2021 | 4 | 4 | 6 | 1 | 0 | 7 | 2021 | 1400000US53075001000 | 53075001000
53063010504 | 0 | No | 0 | Spokane | 587 | 64909 | RURAL | 170.7 | 214.8 | 109.4 | 136.2 | 185.6 | 163.34 | 1.6 | 1.9 | 1 | 1.1 | 1.34 | 574 | 573 | 585 | 456 | 456 | 1.1 | No | 2021 | 5 | 5 | 4 | 3 | 0 | 7 | 2021 | 1400000US53063010504 | 53063010504
53063004400 | 0 | No | 0 | Spokane | 2171 | 56473 | SUBURB | 211.8 | 223.9 | 16.6 | 114.1 | 55.7 | 124.42 | 1.1 | 1.2 | 2 | 1 | 1.28 | 2144 | 2147 | 2155 | 1726 | 1726 | 1.1 | No | 2021 | 3 | 3 | 2 | 3 | 0 | 5 | 2021 | 1400000US53063004400 | 53063004400
53063001100 | 0 | No | 0 | Spokane | 1607 | 59255 | SU-UR | 113.1 | 200.3 | 44.3 | 168.7 | 99.3 | 125.14 | 1.8 | 1.3 | 1.2 | 1.2 | 1.48 | 1555 | 1555 | 1595 | 1566 | 1566 | 1.9 | No | 2021 | 2 | 2 | 1 | 3 | 0 | 4 | 2021 | 1400000US53063001100 | 53063001100
53063010202 | 0 | No | 0 | Spokane | 1791 | 90685 | RURAL | 160.8 | 161.7 | 106.1 | 170.5 | 187.8 | 157.38 | 2.2 | 2.9 | 1.2 | 2.2 | 1.94 | 1737 | 1738 | 1756 | 1634 | 1634 | 1.2 | No | 2021 | 4 | 4 | 4 | 3 | 0 | 7 | 2021 | 1400000US53063010202 | 53063010202
53063010303 | 0 | No | 0 | Spokane | 385 | 72917 | RURAL | 90 | 172 | 212.4 | 66.1 | 127.6 | 133.62 | 3.8 | 2.7 | 1.7 | 1.1 | 2.08 | 363 | 363 | 339 | 372 | 372 | 1.1 | No | 2021 | 2 | 2 | 3 | 3 | 0 | 6 | 2021 | 1400000US53063010303 | 53063010303
53063001000 | 0 | No | 0 | Spokane | 2545 | 58750 | SU-UR | 119.5 | 235.2 | 25.4 | 117.4 | 242 | 147.9 | 1.3 | 1.3 | 1.1 | 1.4 | 1.24 | 2530 | 2521 | 2535 | 2521 | 2521 | 1.1 | No | 2021 | 4 | 4 | 3 | 3 | 0 | 6 | 2021 | 1400000US53063001000 | 53063001000
53075000700 | 0 | No | 0 | Whitman | 1997 | 63973 | RURAL | 293.3 | 131.4 | 177.7 | 174.4 | 84.4 | 172.24 | 2.2 | 1.5 | 1.8 | 1.1 | 1.68 | 1969 | 1964 | 1972 | 1949 | 1949 | 1.8 | No | 2021 | 3 | 3 | 5 | 2 | 0 | 7 | 2021 | 1400000US53075000700 | 53075000700
53065951300 | 0 | No | 0 | Stevens | 2224 | 58246 | RURAL | 358 | 126.2 | 122.8 | 83 | 219.2 | 181.84 | 2.3 | 1.4 | 1.9 | 2 | 1.86 | 2146 | 2146 | 2126 | 2162 | 2162 | 1.7 | Yes | 2021 | 3 | 3 | 7 | 4 | 0 | 11 | 2021 | 1400000US53065951300 | 53065951300
53003960100 | 0 | No | 0 | Asotin | 1678 | 67386 | SU-RU | 242.5 | 58 | 203.3 | 166.6 | 149.5 | 163.98 | 1 | 1.7 | 1.3 | 1.1 | 1.28 | 1631 | 1636 | 1645 | 1642 | 1642 | 1.3 | No | 2021 | 3 | 3 | 6 | 1 | 0 | 7 | 2021 | 1400000US53003960100 | 53003960100
53003960400 | 0 | No | 0 | Asotin | 1101 | 46691 | SUBURB | 146.9 | 86 | 259.1 | 130.1 | 237.5 | 171.92 | 1.9 | 1.2 | 1.2 | 1.2 | 1.3 | 1083 | 1086 | 1090 | 1089 | 1089 | 1 | No | 2021 | 5 | 5 | 7 | 6 | 0 | 13 | 2021 | 1400000US53003960400 | 53003960400
53063000900 | 0 | No | 0 | Spokane | 2650 | 60485 | SUBURB | 256.8 | 219.4 | 87.2 | 167.7 | 208.5 | 187.92 | 1.3 | 1.3 | 3.1 | 1.1 | 1.58 | 2630 | 2628 | 2639 | 2548 | 2548 | 1.1 | No | 2021 | 7 | 7 | 7 | 4 | 0 | 11 | 2021 | 1400000US53063000900 | 53063000900
53063010503 | 0 | No | 0 | Spokane | 3796 | 92274 | SU-RU | 161.6 | 266.5 | 281.1 | 110.7 | 319.3 | 227.84 | 1.5 | 1.9 | 1.5 | 1.6 | 1.56 | 3202 | 3280 | 3557 | 2956 | 2956 | 1.3 | No | 2021 | 3 | 3 | 2 | 1 | 0 | 3 | 2021 | 1400000US53063010503 | 53063010503
53063013401 | 0 | No | 0 | Spokane | 2386 | 99871 | SU-RU | 133 | 127.1 | 32.4 | 119.5 | 175 | 117.4 | 1.3 | 1.2 | 1.5 | 1.5 | 1.3 | 2119 | 2139 | 2208 | 987 | 987 | 1 | No | 2021 | 3 | 3 | 3 | 4 | 0 | 7 | 2021 | 1400000US53063013401 | 53063013401
53063012402 | 0 | No | 0 | Spokane | 249 | 88632 | SU-RU | 31.6 | 86.4 | 73 | 54.6 | 395 | 128.12 | 1 | 2 | 1 | 1.2 | 1.42 | 243 | 243 | 247 | 245 | 245 | 1.9 | No | 2021 | 1 | 1 | 1 | 1 | 0 | 2 | 2021 | 1400000US53063012402 | 53063012402
53063004000 | 0 | No | 0 | Spokane | 3246 | 35529 | URBAN | 154.8 | 181.4 | 162.7 | 52.6 | 133 | 136.9 | 1 | 1 | 1 | 1.6 | 1.14 | 3208 | 3204 | 3220 | 1853 | 1853 | 1.1 | No | 2021 | 8 | 8 | 7 | 5 | 0 | 12 | 2021 | 1400000US53063004000 | 53063004000
53043960100 | 0 | No | 0 | Lincoln | 1030 | 54663 | SU-RU | 51.2 | 156.2 | 243.2 | 148.8 | 112.4 | 142.36 | 1.1 | 4.1 | 1.5 | 1.6 | 1.88 | 1026 | 1023 | 1022 | 1017 | 1017 | 1.1 | No | 2021 | 3 | 3 | 4 | 2 | 0 | 6 | 2021 | 1400000US53043960100 | 53043960100
53063011800 | 0 | No | 0 | Spokane | 27 | 30344 | SUBURB | 487.4 | 0 | 103.5 | 24 | 0 | 122.98 | 1.1 | 0 | 1 | 1 | 0.62 | 27 | 27 | 27 | 27 | 27 | 0 | No | 2021 | 8 | 8 | 6 | 7 | 0 | 13 | 2021 | 1400000US53063011800 | 53063011800
53063000600 | 0 | No | 0 | Spokane | 1367 | 54818 | SU-UR | 260.1 | 218.6 | 76.1 | 221 | 140.5 | 183.26 | 1.1 | 1.3 | 1.1 | 1.2 | 1.14 | 1357 | 1357 | 1359 | 1339 | 1339 | 1 | No | 2021 | 7 | 7 | 5 | 3 | 0 | 8 | 2021 | 1400000US53063000600 | 53063000600
53065950200 | 0 | No | 0 | Stevens | 2254 | 55457 | SU-RU | 230.1 | 164 | 189.1 | 175.3 | 218.2 | 195.34 | 5.9 | 2.2 | 4.3 | 3.4 | 3.94 | 2180 | 2124 | 2184 | 2216 | 2216 | 3.9 | No | 2021 | 1 | 1 | 2 | 4 | 0 | 6 | 2021 | 1400000US53065950200 | 53065950200
53075000200 | 0 | No | 0 | Whitman | 3618 | 52222 | SU-UR-RU | 204.3 | 138 | 143.6 | 139.8 | 113.1 | 147.76 | 1.5 | 1.2 | 1.2 | 1.2 | 1.66 | 3326 | 3336 | 3344 | 3323 | 3323 | 3.2 | No | 2021 | 3 | 3 | 3 | 5 | 0 | 8 | 2021 | 1400000US53075000200 | 53075000200
53063013800 | 0 | No | 0 | Spokane | 8 | 67461 | RURAL | 495.8 | 215.2 | 369.9 | 0 | 206.7 | 257.52 | 1 | 1.4 | 1 | 0 | 0.88 | 644 | 644 | 644 | 638 | 638 | 1 | No | 2021 | 2 | 2 | 2 | 5 | 0 | 7 | 2021 | 1400000US53063013800 | 53063013800
53063004200 | 0 | No | 0 | Spokane | 2116 | 93514 | SU-UR | 372.2 | 235.1 | 81.7 | 65.3 | 273.2 | 205.5 | 1.2 | 1.3 | 1.1 | 1 | 1.14 | 2095 | 2099 | 2101 | 1485 | 1485 | 1.1 | No | 2021 | 1 | 1 | 1 | 1 | 0 | 2 | 2021 | 1400000US53063004200 | 53063004200
53063004900 | 0 | No | 0 | Spokane | 2680 | 81487 | SU-RU | 117.4 | 195 | 19.3 | 100.5 | 230.5 | 132.54 | 1.1 | 1.4 | 1.1 | 1.2 | 1.26 | 2647 | 2656 | 2663 | 2445 | 2445 | 1.5 | No | 2021 | 3 | 3 | 6 | 2 | 0 | 8 | 2021 | 1400000US53063004900 | 53063004900
53065950700 | 0 | No | 0 | Stevens | 137 | 32036 | RURAL | 181.7 | 44.9 | 220.1 | 220.1 | 172.1 | 167.78 | 1.2 | 3.4 | 2.9 | 2.9 | 2.42 | 135 | 134 | 135 | 134 | 134 | 1.7 | No | 2021 | 2 | 2 | 6 | 6 | 0 | 12 | 2021 | 1400000US53065950700 | 53065950700
53003960500 | 0 | No | 0 | Asotin | 1602 | 41849 | SUBURB | 102.5 | 76.8 | 44.3 | 91.5 | 92.3 | 81.48 | 1.2 | 1.1 | 1.8 | 2.3 | 1.66 | 1631 | 1590 | 1588 | 1585 | 1585 | 1.9 | No | 2021 | 6 | 6 | 6 | 7 | 0 | 13 | 2021 | 1400000US53003960500 | 53003960500
53063013600 | 0 | No | 0 | Spokane | 1409 | 68309 | SU-RU | 160.2 | 497.6 | 177 | 176.5 | 176.5 | 237.56 | 1.3 | 1.1 | 1.1 | 1.1 | 1.14 | 1347 | 1353 | 1361 | 506 | 506 | 1.1 | No | 2021 | 6 | 6 | 6 | 4 | 0 | 10 | 2021 | 1400000US53063013600 | 53063013600
53065950500 | 0 | No | 0 | Stevens | 1341 | 47750 | SU-RU | 121 | 120.5 | 101 | 183.6 | 199.1 | 145.04 | 4 | 1.1 | 1.5 | 1.4 | 1.98 | 1312 | 1308 | 1324 | 1321 | 1321 | 1.9 | No | 2021 | 2 | 2 | 3 | 5 | 0 | 8 | 2021 | 1400000US53065950500 | 53065950500
53063011000 | 0 | No | 0 | Spokane | 1788 | 61689 | SU-UR | 136.5 | 128.3 | 173.6 | 127.7 | 262.8 | 165.78 | 1.7 | 1.1 | 1.4 | 1.1 | 1.48 | 1743 | 1748 | 1745 | 1613 | 1613 | 2.1 | No | 2021 | 7 | 7 | 6 | 1 | 0 | 7 | 2021 | 1400000US53063011000 | 53063011000
53063011600 | 0 | No | 0 | Spokane | 1033 | 60563 | SUBURB | 79.7 | 72.5 | 115.9 | 31.6 | 31.6 | 66.26 | 1 | 1.3 | 1.7 | 1.6 | 1.44 | 989 | 990 | 993 | 992 | 992 | 1.6 | No | 2021 | 5 | 5 | 3 | 2 | 0 | 5 | 2021 | 1400000US53063011600 | 53063011600
53063013000 | 0 | No | 0 | Spokane | 515 | 58663 | SU-RU | 28.8 | 255.1 | 120.8 | 188.4 | 46.2 | 127.86 | 1 | 1.8 | 1 | 1 | 1.16 | 514 | 514 | 515 | 515 | 515 | 1 | No | 2021 | 6 | 6 | 6 | 5 | 0 | 11 | 2021 | 1400000US53063013000 | 53063013000
53063004300 | 0 | No | 0 | Spokane | 1578 | 87917 | SU-UR | 210.9 | 150.8 | 47.4 | 143.6 | 117.2 | 133.98 | 1 | 1 | 2 | 1 | 1.3 | 1564 | 1569 | 1576 | 1367 | 1367 | 1.5 | No | 2021 | 3 | 3 | 3 | 1 | 0 | 4 | 2021 | 1400000US53063004300 | 53063004300
53003960200 | 0 | No | 0 | Asotin | 2602 | 52295 | SU-RU | 189.7 | 130.4 | 184.2 | 314.6 | 148.6 | 193.5 | 1.1 | 1.3 | 1.3 | 1.7 | 1.38 | 2492 | 2496 | 2509 | 2504 | 2504 | 1.5 | No | 2021 | 2 | 2 | 3 | 1 | 0 | 4 | 2021 | 1400000US53003960200 | 53003960200
53063014100 | 0 | No | 0 | Spokane | 1026 | 72607 | RURAL | 599.6 | 341 | 257.7 | 141 | 135.7 | 295 | 1.3 | 1.2 | 1.5 | 1.3 | 1.56 | 995 | 993 | 999 | 987 | 987 | 2.5 | No | 2021 | 5 | 5 | 7 | 2 | 0 | 9 | 2021 | 1400000US53063014100 | 53063014100
53063012801 | 0 | No | 0 | Spokane | 1368 | 58868 | SUBURB | 21.4 | 162.8 | 105.6 | 84.6 | 126.8 | 100.24 | 1 | 2.2 | 1 | 1.3 | 1.44 | 1362 | 1363 | 1366 | 1357 | 1357 | 1.7 | No | 2021 | 1 | 1 | 1 | 3 | 0 | 4 | 2021 | 1400000US53063012801 | 53063012801
53063004700 | 0 | No | 0 | Spokane | 3186 | 61350 | SU-RU | 55 | 177.7 | 37.6 | 129.3 | 285.4 | 137 | 1 | 1.1 | 1.3 | 1.3 | 1.16 | 3128 | 3133 | 3139 | 1975 | 1975 | 1.1 | No | 2021 | 5 | 5 | 5 | 6 | 0 | 11 | 2021 | 1400000US53063004700 | 53063004700
53063010501 | 0 | No | 0 | Spokane | 3940 | 62870 | SU-RU | 112.7 | 266.9 | 221.9 | 122.8 | 330.9 | 211.04 | 1.3 | 2.1 | 1.3 | 1.3 | 1.48 | 3777 | 3805 | 3861 | 3840 | 3840 | 1.4 | No | 2021 | 5 | 5 | 3 | 2 | 0 | 5 | 2021 | 1400000US53063010501 | 53063010501
53075000900 | 0 | No | 0 | Whitman | 1925 | 51858 | RURAL | 245.5 | 97.7 | 98.6 | 98.6 | 115.9 | 131.26 | 2.4 | 1 | 1.4 | 1.4 | 1.88 | 1991 | 1975 | 1980 | 1947 | 1947 | 3.2 | No | 2021 | 5 | 5 | 6 | 4 | 0 | 10 | 2021 | 1400000US53075000900 | 53075000900
53063013300 | 0 | No | 0 | Spokane | 210 | 79628 | SU-RU | 279.6 | 209.8 | 142.9 | 136.3 | 210.6 | 195.84 | 2.9 | 1.5 | 1.5 | 1.6 | 1.96 | 198 | 199 | 182 | 202 | 202 | 2.3 | No | 2021 | 3 | 3 | 6 | 3 | 0 | 9 | 2021 | 1400000US53063013300 | 53063013300
53043960300 | 0 | No | 0 | Lincoln | 1322 | 49961 | RURAL | 168.4 | 256.9 | 300 | 223.5 | 168.5 | 223.46 | 2.5 | 1.8 | 1.6 | 1.2 | 1.88 | 1332 | 1327 | 1326 | 1323 | 1323 | 2.3 | Yes | 2021 | 3 | 3 | 7 | 3 | 0 | 10 | 2021 | 1400000US53043960300 | 53043960300
53063010305 | 0 | No | 0 | Spokane | 2256 | 85485 | RURAL | 194.6 | 284.9 | 221.7 | 142.1 | 163.3 | 201.32 | 2.5 | 1.8 | 1.3 | 1.2 | 1.64 | 2010 | 2047 | 2045 | 1064 | 1064 | 1.4 | No | 2021 | 2 | 2 | 3 | 2 | 0 | 5 | 2021 | 1400000US53063010305 | 53063010305
53063005000 | 0 | No | 0 | Spokane | 2202 | 55111 | SU-RU | 69.4 | 202.7 | 46.7 | 395 | 194.3 | 181.62 | 1.5 | 1.4 | 1.2 | 1 | 1.3 | 2132 | 2157 | 2195 | 1553 | 1553 | 1.4 | No | 2021 | 4 | 4 | 7 | 4 | 0 | 11 | 2021 | 1400000US53063005000 | 53063005000
53063012600 | 0 | No | 0 | Spokane | 704 | 61277 | SUBURB | 235.1 | 89.1 | 108.5 | 85.3 | 157.7 | 135.14 | 1.1 | 1.4 | 1 | 2.6 | 1.5 | 668 | 667 | 681 | 680 | 680 | 1.4 | No | 2021 | 5 | 5 | 2 | 5 | 0 | 7 | 2021 | 1400000US53063012600 | 53063012600
53063011300 | 0 | No | 0 | Spokane | 3774 | 80074 | SU-RU | 212.3 | 70.7 | 192.7 | 143.4 | 156.7 | 155.16 | 1.3 | 2 | 2.3 | 1 | 1.78 | 3505 | 3543 | 3633 | 3624 | 3624 | 2.3 | No | 2021 | 3 | 3 | 2 | 3 | 0 | 5 | 2021 | 1400000US53063011300 | 53063011300
53063013700 | 0 | No | 0 | Spokane | 1922 | 60500 | SU-RU | 230.9 | 120.2 | 139.3 | 231.5 | 266.8 | 197.74 | 1 | 1.1 | 1 | 1.4 | 1.12 | 1744 | 1767 | 1804 | 512 | 512 | 1.1 | No | 2021 | 5 | 5 | 3 | 5 | 0 | 8 | 2021 | 1400000US53063013700 | 53063013700
53063013900 | 0 | No | 0 | Spokane | 2128 | 60591 | RURAL | 144.8 | 212.3 | 142.1 | 153.4 | 89.1 | 148.34 | 1.5 | 1.2 | 1 | 1.3 | 1.22 | 2106 | 2098 | 2111 | 2106 | 2106 | 1.1 | No | 2021 | 1 | 1 | 2 | 5 | 0 | 7 | 2021 | 1400000US53063013900 | 53063013900
53063000700 | 0 | No | 0 | Spokane | 2278 | 46124 | SUBURB | 145.7 | 235.3 | 118.6 | 155 | 207.2 | 172.36 | 1.2 | 1.1 | 1.8 | 1.1 | 1.28 | 2270 | 2270 | 2272 | 2256 | 2256 | 1.2 | No | 2021 | 8 | 8 | 6 | 7 | 0 | 13 | 2021 | 1400000US53063000700 | 53063000700
53063012802 | 0 | No | 0 | Spokane | 899 | 62206 | SU-RU | 19 | 167.6 | 159.2 | 112.7 | 454.8 | 182.66 | 1 | 2.2 | 1 | 1.7 | 1.42 | 888 | 890 | 890 | 855 | 855 | 1.2 | No | 2021 | 2 | 2 | 3 | 1 | 0 | 4 | 2021 | 1400000US53063012802 | 53063012802
53063011400 | 0 | No | 0 | Spokane | 3130 | 48750 | SU-RU | 235.6 | 198.8 | 101.9 | 120.3 | 169.4 | 165.2 | 1.2 | 1.1 | 1.4 | 1.5 | 1.3 | 2889 | 2893 | 2929 | 2885 | 2885 | 1.3 | No | 2021 | 6 | 6 | 6 | 6 | 0 | 12 | 2021 | 1400000US53063011400 | 53063011400
53063010601 | 0 | No | 0 | Spokane | 1556 | 69598 | SU-RU | 167.1 | 167.1 | 280.1 | 265.9 | 68.9 | 189.82 | 1.6 | 1.4 | 1 | 1 | 1.24 | 1495 | 1509 | 1531 | 1529 | 1529 | 1.2 | No | 2021 | 4 | 4 | 6 | 1 | 0 | 7 | 2021 | 1400000US53063010601 | 53063010601
53063013500 | 0 | No | 0 | Spokane | 1981 | 97028 | SU-RU | 167.3 | 507.2 | 175 | 137.1 | 96.6 | 216.64 | 1.1 | 1.3 | 1.8 | 1 | 1.28 | 1760 | 1828 | 1887 | 1739 | 1739 | 1.2 | No | 2021 | 1 | 1 | 2 | 3 | 0 | 5 | 2021 | 1400000US53063013500 | 53063013500
53063012100 | 0 | No | 0 | Spokane | 1527 | 46725 | SUBURB | 207.1 | 281.7 | 39.7 | 85.6 | 32.1 | 129.24 | 1.2 | 1 | 1 | 1.5 | 1.16 | 1492 | 1500 | 1510 | 1504 | 1504 | 1.1 | No | 2021 | 7 | 7 | 2 | 6 | 0 | 8 | 2021 | 1400000US53063012100 | 53063012100
53063012902 | 0 | No | 0 | Spokane |  | 56469 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | No | 2021 | 4 | 4 | 2 | 6 | 0 | 8 | 2021 | 1400000US53063012902 | 53063012902
53065950600 | 0 | No | 0 | Stevens | 1697 | 57004 | RURAL | 398.1 | 235.3 | 339.4 | 154.9 | 204 | 266.34 | 7.6 | 3 | 3.6 | 3.2 | 4.22 | 1649 | 1632 | 1666 | 1657 | 1657 | 3.7 | No | 2021 | 3 | 3 | 8 | 3 | 1 | 11 | 2021 | 1400000US53065950600 | 53065950600
53063011500 | 0 | No | 0 | Spokane | 671 | 60556 | SUBURB | 79.9 | 176.9 | 114.5 | 27.5 | 27.5 | 85.26 | 1 | 2 | 1.4 | 1 | 1.28 | 656 | 657 | 667 | 666 | 666 | 1 | No | 2021 | 8 | 8 | 8 | 7 | 1 | 15 | 2021 | 1400000US53063011500 | 53063011500
53075000100 | 0 | No | 0 | Whitman | 1644 | 14023 | SU-UR-RU | 160.2 | 44.3 | 121.5 | 115.3 | 215.1 | 131.28 | 1.3 | 1.1 | 1.1 | 1 | 1.16 | 1620 | 1589 | 1622 | 1609 | 1609 | 1.3 | No | 2021 | 2 | 2 | 1 | 8 | 1 | 9 | 2021 | 1400000US53075000100 | 53075000100
53063011900 | 0 | No | 0 | Spokane |  | 42277 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | No | 2021 | 8 | 8 | 4 | 8 | 1 | 12 | 2021 | 1400000US53063011900 | 53063011900
53063013201 | 0 | No | 0 | Spokane | 3450 | 70417 | SU-RU | 205.1 | 139.3 | 183.5 | 191.7 | 174 | 178.72 | 1.1 | 1.5 | 1 | 1.5 | 1.22 | 3314 | 3340 | 3307 | 2467 | 2467 | 1 | No | 2021 | 7 | 7 | 8 | 3 | 1 | 11 | 2021 | 1400000US53063013201 | 53063013201
53065951400 | 0 | No | 0 | Stevens | 555 | 71086 | RURAL | 319.9 | 137.4 | 337.8 | 302.2 | 160.7 | 251.6 | 3.6 | 4 | 2.9 | 2.6 | 3.04 | 525 | 527 | 524 | 533 | 533 | 2.1 | Yes | 2021 | 4 | 4 | 8 | 3 | 1 | 11 | 2021 | 1400000US53065951400 | 53065951400
53063014300 | 0 | No | 0 | Spokane | 1358 | 48796 | RURAL | 233.9 | 225.9 | 194.2 | 127 | 100.1 | 176.22 | 1.4 | 1.2 | 1.8 | 1.6 | 1.58 | 1342 | 1332 | 1338 | 1241 | 1241 | 1.9 | No | 2021 | 4 | 4 | 8 | 3 | 1 | 11 | 2021 | 1400000US53063014300 | 53063014300
53075000800 | 0 | No | 0 | Whitman | 1964 | 52319 | SU-RU | 157.4 | 254.5 | 195.1 | 115.4 | 124.4 | 169.36 | 1.4 | 3.9 | 1.4 | 1.5 | 1.98 | 1963 | 1947 | 1955 | 1946 | 1946 | 1.7 | No | 2021 | 4 | 4 | 8 | 2 | 1 | 10 | 2021 | 1400000US53075000800 | 53075000800
53063003100 | 0 | No | 0 | Spokane | 2454 | 42056 | SU-UR | 50.4 | 107 | 87.5 | 260.2 | 263.9 | 153.8 | 1.1 | 1.1 | 1.2 | 1.3 | 1.16 | 2332 | 2375 | 2413 | 1237 | 1237 | 1.1 | No | 2021 | 8 | 8 | 8 | 5 | 1 | 13 | 2021 | 1400000US53063003100 | 53063003100
53063012300 | 0 | No | 0 | Spokane | 3323 | 45458 | SU-RU | 108.2 | 79.9 | 70.6 | 165 | 50.8 | 94.9 | 2.2 | 1.1 | 1.4 | 1.2 | 1.38 | 3024 | 3031 | 3023 | 2970 | 2970 | 1 | No | 2021 | 8 | 8 | 4 | 8 | 1 | 12 | 2021 | 1400000US53063012300 | 53063012300
53043960400 | 0 | No | 0 | Lincoln | 1664 | 42730 | RURAL | 224.3 | 235.1 | 197.9 | 184 | 177.4 | 203.74 | 2 | 3 | 2.8 | 2.7 | 2.36 | 1674 | 1659 | 1663 | 1658 | 1658 | 1.3 | No | 2021 | 5 | 5 | 8 | 3 | 1 | 11 | 2021 | 1400000US53043960400 | 53043960400
53063004601 | 0 | No | 0 | Spokane | 1921 | 51188 | SUBURB | 60.2 | 265.9 | 41.7 | 322 | 148.7 | 167.7 | 1.2 | 1.1 | 1.2 | 1 | 1.2 | 1915 | 1918 | 1916 | 780 | 780 | 1.5 | No | 2021 | 8 | 8 | 8 | 5 | 1 | 13 | 2021 | 1400000US53063004601 | 53063004601
53043960200 | 0 | No | 0 | Lincoln | 861 | 56979 | SU-RU | 226.1 | 336 | 325.2 | 188 | 181.2 | 251.3 | 2.4 | 1.9 | 2.1 | 2.2 | 2.24 | 824 | 799 | 796 | 830 | 830 | 2.6 | Yes | 2021 | 4 | 4 | 8 | 2 | 1 | 10 | 2021 | 1400000US53043960200 | 53043960200
53063010201 | 0 | No | 0 | Spokane | 281 | 71250 | RURAL | 279.4 | 142.8 | 260.6 | 142.2 | 142.2 | 193.44 | 2.2 | 1.9 | 1.7 | 1.9 | 1.92 | 261 | 264 | 270 | 136 | 136 | 1.9 | No | 2021 | 4 | 4 | 8 | 3 | 1 | 11 | 2021 | 1400000US53063010201 | 53063010201
53063013100 | 0 | No | 0 | Spokane | 7078 | 56672 | SU-RU | 268.6 | 93.3 | 276.6 | 90.9 | 128.6 | 171.6 | 1.3 | 1 | 1.8 | 1.3 | 1.34 | 5898 | 6074 | 6444 | 6284 | 6284 | 1.3 | No | 2021 | 8 | 8 | 8 | 6 | 1 | 14 | 2021 | 1400000US53063013100 | 53063013100
53063011702 | 0 | No | 0 | Spokane | 4271 | 33467 | SU-RU | 388.4 | 53.5 | 55.3 | 219.9 | 93.2 | 162.06 | 1.1 | 1.2 | 1.1 | 1.8 | 1.42 | 3944 | 3948 | 3985 | 3983 | 3983 | 1.9 | No | 2021 | 8 | 8 | 7 | 8 | 1 | 15 | 2021 | 1400000US53063011702 | 53063011702
53003960600 | 0 | No | 0 | Asotin | 1789 | 58155 | SUBURB | 103.8 | 142.3 | 74.5 | 56 | 103.3 | 95.98 | 1.1 | 1.5 | 1.3 | 1.5 | 1.46 | 1758 | 1767 | 1767 | 1761 | 1761 | 1.9 | No | 2021 | 5 | 5 | 8 | 4 | 1 | 12 | 2021 | 1400000US53003960600 | 53003960600
53003960300 | 0 | No | 0 | Asotin | 2371 | 33364 | SUBURB | 95.9 | 124.2 | 107.5 | 140 | 208.4 | 135.2 | 1.1 | 1.1 | 1.8 | 2.3 | 1.5 | 2352 | 2347 | 2342 | 2342 | 2342 | 1.2 | No | 2021 | 6 | 6 | 7 | 8 | 1 | 15 | 2021 | 1400000US53003960300 | 53003960300
53063003800 | 0 | No | 0 | Spokane | 1095 | 45075 | SU-RU | 392.2 | 51.7 | 69.3 | 292.2 | 292.2 | 219.52 | 1.3 | 1 | 1.6 | 1.1 | 1.22 | 1074 | 1077 | 1071 | 1011 | 1011 | 1.1 | No | 2021 | 8 | 8 | 8 | 5 | 1 | 13 | 2021 | 1400000US53063003800 | 53063003800
53063011202 | 0 | No | 0 | Spokane | 1689 | 56104 | SU-RU | 138.8 | 222.4 | 161 | 103.6 | 147.6 | 154.68 | 1 | 1.7 | 1.1 | 1 | 1.16 | 1685 | 1661 | 1662 | 1597 | 1597 | 1 | No | 2021 | 8 | 8 | 8 | 6 | 1 | 14 | 2021 | 1400000US53063011202 | 53063011202
53065950900 | 0 | No | 0 | Stevens | 1331 | 44896 | RURAL | 248.2 | 335.7 | 335.7 | 191.4 | 238.3 | 269.86 | 4.3 | 8.4 | 8.4 | 6.2 | 6.34 | 1276 | 1285 | 1293 | 1283 | 1283 | 4.4 | Yes | 2021 | 3 | 3 | 8 | 5 | 1 | 13 | 2021 | 1400000US53065950900 | 53065950900
53051970100 | 0 | No | 0 | Pend Oreille | 2 | 43125 | RURAL | 132.2 | 672.8 | 231.4 | 278.2 | 278.2 | 318.56 | 6 | 6 | 5 | 6 | 5.8 | 2 | 2 | 2 | 2 | 2 | 6 | No | 2021 | 2 | 2 | 4 | 4 | 0 | 8 | 2021 | 1400000US53051970100 | 53051970100
53021020700 | 0 | No | 0 | Franklin | 37 | 70000 | RURAL | 165.9 | 346.3 | 346.3 | 137.1 | 660 | 331.12 | 3.1 | 4.1 | 4.1 | 2.1 | 2.88 | 38 | 34 | 35 | 35 | 35 | 1 | No | 2021 | 5 | 5 | 2 | 7 | 0 | 9 | 2021 | 1400000US53021020700 | 53021020700
[8 empty] | 190.6602 | 178.1222 | 154.7633 | 151.2002 | 181.6788 |  | 1.6687 | 1.6072 | 1.6856 | 1.6158 | 1.6816 | 252521 | 252849 | 256192 | 226793 | 226790
Raw Avg
[7 empty] | Named Communities | 176.7041 | 189.6959 | 169.0184 | 157.8714 | 185.1063 |  | 1.8551 | 1.7327 | 1.9571 | 1.8735 | 1.818
[7 empty] | Other Communities | 182.5879 | 182.3176 | 154.7978 | 151.6813 | 184.0615 |  | 1.7088 | 1.7484 | 1.667 | 1.5473 | 1.6593
Raw Stdev
[7 empty] | Named Communities | 190.434 | 144.4294 | 97.6861 | 109.6808 | 105.987 |  | 1.1021 | 1.3582 | 1.6682 | 1.4757 | 1.2224
[7 empty] | Other Communities | 109.0867 | 106.9306 | 91.0479 | 73.5974 | 103.1406 |  | 1.1467 | 1.1448 | 1.0357 | 0.88636 | 0.86684
Count
[7 empty] | Named Communities | 49 | 49 | 49 | 49 | 48 |  | 49 | 49 | 49 | 49 | 49
[7 empty] | Other Communities | 91 | 91 | 91 | 91 | 91 |  | 91 | 91 | 91 | 91 | 91
[7 empty] | T value | 0.19938 | -0.31422 | -0.84111 | -0.35443 | -0.055768 |  | -0.73864 | 0.06881 | -1.1078 | -1.4159 | -0.80576
[7 empty] | P Value | 1.1576 | 0.75408 | 0.40251 | 0.72385 | 0.95565 |  | 0.46205 | 1.0547 | 0.2709 | 0.16024 | 0.42251
[5 empty] | Named Communities | 1 | RURAL | 352.6111 | 284.3111 | 258.3556 | 266.7889 | 238.4625 |  | 3.5333 | 3.8333 | 4.5 | 4.0889 | 3.84
[5 empty] | Named Communities | 1 | SUBURB | 155.2286 | 132.7714 | 106.6 | 124.2143 | 142.3143 |  | 1.2714 | 1.1571 | 1.2429 | 1.1429 | 1.1914
[5 empty] | Named Communities | 1 | SU-RU | 152.43 | 176.4 | 173.77 | 134.02 | 240.78 |  | 1.62 | 1.5 | 1.74 | 1.77 | 1.578
[5 empty] | Named Communities | 1 | SU-UR-RU | 98.825 | 121.875 | 131.05 | 110.3 | 105.375 |  | 1.175 | 1.225 | 1.65 | 1.15 | 1.275
[5 empty] | Named Communities | 1 | URBAN
[5 empty] | Named Communities | 1 | UR-RU | 31.6 | 112.5 | 204.4 | 117.2 | 163.7 |  | 1.4 | 1.2 | 1.1 | 1.2 | 1.3
[5 empty] | Named Communities | 1 | SU-UR | 135.9556 | 191.2722 | 152.4556 | 142.5833 | 166.0111 |  | 1.55 | 1.1778 | 1.2 | 1.3056 | 1.3333
[5 empty] | Other Communities | 0 | RURAL | 247.5045 | 222.3591 | 227.2136 | 157.4045 | 184.8864 |  | 2.7227 | 2.5727 | 2.3409 | 2.1455 | 2.3873
[5 empty] | Other Communities | 0 | SUBURB | 153.6125 | 156.0375 | 92.6812 | 116.2062 | 125.425 |  | 1.175 | 1.2313 | 1.4812 | 1.4187 | 1.3162
[5 empty] | Other Communities | 0 | SU-RU | 158.1865 | 187.8135 | 157.1297 | 173.8486 | 215.2459 |  | 1.5243 | 1.6811 | 1.4973 | 1.3838 | 1.5151
[5 empty] | Other Communities | 0 | SU-UR-RU | 208.32 | 121.88 | 156 | 108.44 | 149.64 |  | 1.3 | 1.54 | 1.42 | 1.14 | 1.492
[5 empty] | Other Communities | 0 | URBAN | 154.8 | 181.4 | 162.7 | 52.6 | 133 |  | 1 | 1 | 1 | 1.6 | 1.14
[5 empty] | Other Communities | 0 | UR-RU
[5 empty] | Other Communities | 0 | SU-UR | 166.33 | 146.25 | 84.85 | 145.36 | 183 |  | 1.29 | 1.19 | 1.3 | 1.24 | 1.276
[7 empty] | RURAL | 105.1066 | 61.952 | 31.1419 | 109.3843 | 53.5761 |  | 0.81061 | 1.2606 | 2.1591 | 1.9434 | 1.4527
[7 empty] | SUBURB | 1.6161 | -23.2661 | 13.9188 | 8.008 | 16.8893 |  | 0.096429 | -0.074107 | -0.23839 | -0.27589 | -0.12482
[7 empty] | SU-RU | -5.7565 | -11.4135 | 16.6403 | -39.8286 | 25.5341 |  | 0.095676 | -0.18108 | 0.2427 | 0.38622 | 0.062865
[7 empty] | SU-UR-RU | -109.495 | -0.005 | -24.95 | 1.86 | -44.265 |  | -0.125 | -0.315 | 0.23 | 0.01 | -0.217
[7 empty] | URBAN | n/a | n/a | n/a | n/a | n/a |  | n/a | n/a | n/a | n/a | n/a
[7 empty] | UR-RU | n/a | n/a | n/a | n/a | n/a |  | n/a | n/a | n/a | n/a | n/a
[7 empty] | SU-UR | -30.3744 | 45.0222 | 67.6056 | -2.7767 | -16.9889 |  | 0.26 | -0.012222 | -0.1 | 0.065556 | 0.057333
Weighted Averages
[8 empty] | CAIDI (Minutes) | [5 empty] | CEMI (Events)
[8 empty] | 2016 | 2017 | 2018 | 2019 | 2020 |  | 2016 | 2017 | 2018 | 2019 | 2020
[7 empty] | Named Communities | 210.9488 | 184.9073 | 162.6468 | 147.6358 | 185.0674 |  | 1.8529 | 1.7135 | 1.9197 | 1.8462 | 1.8192
[7 empty] | Other Communities | 179.6957 | 174.5059 | 150.5484 | 153.1519 | 179.8236 |  | 1.5691 | 1.5496 | 1.5739 | 1.4595 | 1.5772
[7 empty] | Delta | 31.2531 | 10.4014 | 12.0984 | -5.5161 | 5.2438 |  | 0.2838 | 0.16388 | 0.34576 | 0.38668 | 0.24194
Customers
[8 empty] | 2016 | 2017 | 2018 | 2019 | 2020
[7 empty] | Named Communities | 87385 | 86704 | 88048 | 79411 | 79411
[7 empty] | Other Communities | 165136 | 166145 | 168144 | 147382 | 147379